Hall Heating Demystified

The upstairs thermostat to the left of the double doors as you enter the Hall, controls all heating situations. Please follow these instructions to help us keep our astronomical oil bills as low as possible during the cooler months.  Thank you!

1. To get heat in only the Cloakroom/small meeting room, make sure the floor vent in the Cloakroom is open, set the temperature on the upstairs thermostat in the Main Hall, and wind the timer to the amount of time you need. Make sure the floor vents to the Main Hall and Dining Room are closed. (Some dining area vents don't work.)

2. To get heat into the Main Hall only, open the floor vents in the main hall, set the temperature you want on the upstairs thermostat, and wind the timer to the amount of time you need. Make sure the floor vents to the Cloakroom and dining area are closed.

3. To get heat to the Dining Room only, open the downstairs vents, set the temperature you want on the upstairs thermostat and wind the timer to the time you need. Make sure vents to the Cloakroom, Main Hall, and entryway are closed.

***

Please don't mess with the kitchen thermostat, as it is set to a low temperature on purpose. When the timer is not on, the entire building will go to a cool temperature, except the kitchen. This will save fuel, and keep our pipes from freezing. If you want to heat the kitchen only, use the upstairs thermostat.

Info@MontagueCommonHall.org

34 Main Street (P.O. box 223) Montague, MA 01351